## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ _ Cliffside |  |  | Contact Name: |  | ALISSA VANIM
PWSID Number: | NJ1438001 |  |  | Contact Title: |  | MANAGER OF ENVIRONMENTAL COMPLIANCE
|  |  |  | Contact Phone: |  | 609.587.4080
|  |  |  | Contact Email: |  | ARVANIM@AQUAAMERICA.COM
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead | [9 empty] | 0
II. Galvanized | [9 empty] | 0
III. Lead gooseneck, pigtail, or connector | [9 empty] | 0
IV. Lead Status Unknown | [9 empty] | 0
V. Non-lead | [9 empty] | 34
|  | # of LSLs to be replaced/identified: |  | 0 |  |  | # of LSLs to be replaced annually: |  |  | 0
|  | Total # of service lines in PCWS: |  | 34 |  |  | # of known LSLs |  |  | 0
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquaamerica.com/our-states/new-jersey.aspx
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | Website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 6 LA BONTY TRL , PORT MURRAY, NJ, 07865-3233 | 07865-3233 | PORT MURRAY |  |  |  |  | 40.787 | '-74.88231374 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 12 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3237 | 07865-3237 | PORT MURRAY |  |  |  |  | 40.7904 | '-74.88177116 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 15 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3238 | 07865-3238 | PORT MURRAY |  |  |  |  | 40.7904 | '-74.88203805 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 16 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7867 | '-74.88096908 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 14 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7869 | '-74.88104038 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 3 HILLCREST AVE , PORT MURRAY, NJ, 07865-3232 | 07865-3232 | PORT MURRAY |  |  |  |  | 40.7874 | '-74.88269301 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 8 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3237 | 07865-3237 | PORT MURRAY |  |  |  |  | 40.7897 | '-74.8818006 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 8 LA BONTY TRL , PORT MURRAY, NJ, 07865-3233 | 07865-3233 | PORT MURRAY |  |  |  |  | 40.7872 | '-74.88237777 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 5 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3238 | 07865-3238 | PORT MURRAY |  |  |  |  | 40.7891 | '-74.88219767 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 3 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3240 | 07865-3240 | PORT MURRAY |  |  |  |  | 40.7875 | '-74.88094654 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 1280 RT 57 , PORT MURRAY, NJ, 07865 | 07865 | PORT MURRAY |  |  |  |  | 40.7917 | '-74.88011505 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 17 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3238 | 07865-3238 | PORT MURRAY |  |  |  |  | 40.7908 | '-74.88206433 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 19 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3238 | 07865-3238 | PORT MURRAY |  |  |  |  | 40.7908 | '-74.88228861 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 7 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3240 | 07865-3240 | PORT MURRAY |  |  |  |  | 40.7872 | '-74.88080337 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 177 OLD TURNPIKE RD , PORT MURRAY, NJ, 07865-3221 | 07865-3221 | PORT MURRAY |  |  |  |  | 40.7884 | '-74.88233535 |  | NL |  | P |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 1 HILLCREST AVE , PORT MURRAY, NJ, 07865-3232 | 07865-3232 | PORT MURRAY |  |  |  |  | 40.7874 | '-74.88291432 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 2 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7877 | '-74.88134863 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 11 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3240 | 07865-3240 | PORT MURRAY |  |  |  |  | 40.7869 | '-74.88069126 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 4 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7875 | '-74.88128524 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 3 CLEVELAND AVE , PORT MURRAY, NJ, 07865-3236 | 07865-3236 | PORT MURRAY |  |  |  |  | 40.79 | '-74.88130648 |  | NL |  | C |  | P |  |  |  |  | F1
| 168 OLD TURNPIKE RD , PORT MURRAY, NJ, 07865-3218 | 07865-3218 | PORT MURRAY |  |  |  |  | 40.7888 | '-74.88147241 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 170 OLD TURNPIKE RD , PORT MURRAY, NJ, 07865-3218 | 07865-3218 | PORT MURRAY |  |  |  |  | 40.7887 | '-74.88187111 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 9 HILLCREST AVE , PORT MURRAY, NJ, 07865-3232 | 07865-3232 | PORT MURRAY |  |  |  |  | 40.7877 | '-74.88173367 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 7 HILLCREST AVE , PORT MURRAY, NJ, 07865-3232 | 07865-3232 | PORT MURRAY |  |  |  |  | 40.7876 | '-74.88217319 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 6 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7874 | '-74.881221 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 5 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3240 | 07865-3240 | PORT MURRAY |  |  |  |  | 40.7874 | '-74.88085367 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 8 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7872 | '-74.88114242 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 18 LAWRENCE TRL , PORT MURRAY, NJ, 07865-3239 | 07865-3239 | PORT MURRAY |  |  |  |  | 40.7864 | '-74.88087477 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 5 LA BONTY TRL , PORT MURRAY, NJ, 07865-3234 | 07865-3234 | PORT MURRAY |  |  |  |  | 40.7872 | '-74.88216455 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 1275 RT 57 , PORT MURRAY, NJ, 07865 | 07865 | PORT MURRAY |  |  |  |  | 40.7918 | '-74.88126262 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 1263 RT 57 , PORT MURRAY, NJ, 07865 | 07865 | PORT MURRAY |  |  |  |  | 40.7918 | '-74.88193964 |  | NL |  | O | NOT LEAD | O | NOT LEAD |  |  |  | O | Institutional Knowledge
| 3 ROOSEVELT AVE , PORT MURRAY, NJ, 07865-3238 | 07865-3238 | PORT MURRAY |  |  |  |  | 40.7889 | '-74.88220235 |  | NL |  | C |  | O | NOT LEAD |  |  |  | F1, O | Institutional Knowledge
| 1267 RT 57 , PORT MURRAY, NJ, 07865 | 07865 | PORT MURRAY |  |  |  |  | 40.7918 | '-74.88157817 |  | NL |  | O | NOT LEAD | O | NOT LEAD
| 169 OLD TURNPIKE RD , PORT MURRAY, NJ, 07865-3220 | 07865-3220 | PORT MURRAY |  |  |  |  | 40.7885 | '-74.88182527 |  | NL |  | P |  | P |  |  |  |  | F1